## 1_문헌특성
1. 선택문헌의 특성
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34
no. | 1저자 (연도) | 연구설계 (RCT, NRCT) | Trial명(NCT no.) (있는 경우) 예. | 연구국가 | 참여기관 (1, 2 등) | 대상자 모집기간 | 질환명 | 상세 질환분류 | 선택/배제기준 | [12 empty] | 중재군(I) | [5 empty] | 대조군(C) |  |  |  | 추적관찰기간 (개월) | 저자결론
[8 empty] | 급성, 아급성, 만성 등 | 특이적인것 기재(예. 특정 도구 몇 점 이상인 사람만 선택, 진단일 기준 O개월내 선택 등) | 연구대상자 수 |  |  |  |  | 탈락률(%) 전체(중재 vs. 대조) | 평균연령 (세) 전체 평균, 또는 각 군별 평균 | 기저특성 |  |  |  |  | 중재군 | 중재군 치료법수(로봇 단독=1, 로봇+물리치료=2, 로봇+물리치료+보토스=3 등) |  |  |  |  | 대조군(C) |  | 대조군 기기
[10 empty] | 총 | 비교군 수 (2군, 3군 등) | 중재군 (N명) | 대조군 (N명) | 3군일 경우 중재, 대조 여부(N) 예: 대조250명) |  |  | 남성 (%) | 유병기간 | 질환 타입 | 장애 및 질환관련 지표명 1 | 결과1 |  |  | 중재군기기분류 | 중재군기기명 | 중재기기 설명 | 중재군 프로그램 주당횟수, 회당 시간, 프로그램 기간 |  | 대조군 설명 |  | 대조군 프로그램 주당횟수, 회당 시간, 프로그램 기간 |  |  | 비고
4248 | Nooijen (2009) | RCT | NR | 미국 | NR(마이애미 프로젝트 참여자) | 2002.5~2008.12 | 불완전 척수손상 | 만성 | <선택기준> ㆍ최소 1년 전에 진단받은 만성 척수손상자 ㆍ중등도(50% 정도)의 도움을 받아 앉았다가 서기 가능한 자 ㆍ보조장치를 사용해 지상 보행이 가능한 자 ㆍT12이상의 척수손상 ㆍT12미만 척수손상시 하지 운동기능 확인 가능할 경우 참여 <배제기준> ㆍ정형외과적 문제, 심장질환 병력, 보행훈련으로 악화가능성이 있는 고관절 질환 등 | 35 | 2군(총 4군이나 control 3군으로 일반적 물리치료군인 TM만 추출함) | 16 | TM 19, (TS 22, OG 18) | - | 32 (중재 25, 비교군 TM 31.6) | 중재 44.33, 비교군 TM 38.15 | 84 | 중재군 110.92개월, 비교군 52.31개월 | NR | NR | NR | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | ㆍ보행속도 2.6km/h로 시작, 최대 3.2km/h까지 도달, 목표, 매주 0.16km/h씩 속도 증가 ㆍ체중지원은 속도에 적응할 수 있도록 조절 | ㆍ60분/회(준비 15분, 운동 45분) ㆍ5일/주 ㆍ12주, 총 60회 | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) | 과도한 무릎신전 및 발끌림 등을 방지하기 위해 체중지원 조절함, 체중지원은 30% 이하로 조절 Behrman and Harkem의 지침에 따라 걸음 훈련 지원 | 체중지원 트레드밀 | ㆍ60분/회(준비 15분, 운동 45분) ㆍ5일/주 ㆍ12주, 총 60회 | 중재직후 12주 | 체중지원 트레드밀 훈련은 접근방식에 상관없이 보행능력을 개선시킴, 로봇 그룹의 변화량이 적은 것은 로봇장치에 대한 소극적 설정으로 인한 것으로 보임 | 4248, 4702 동일 연구, 결과지표 다름
4702 | Field-Fote (2011) | RCT | NR | 미국 | NR(마이애미 프로젝트 참여자) | 2002.5~2008.12 | 불완전 척수손상 | 만성 | <선택기준> ㆍ최소 1년 전에 진단받은 만성 척수손상자 ㆍ중등도(50% 정도)의 도움을 받아 앉았다가 서기 가능한 자 ㆍ보조장치를 사용해 지상 보행이 가능한 자 ㆍT12이상의 척수손상 ㆍT12미만 척수손상시 하지 운동기능 확인 가능할 경우 참여 <배제기준> ㆍ정형외과적 문제, 심장질환 병력, 보행훈련으로 악화가능성이 있는 고관절 질환 등 | 34 | 2군(총 4군이나 control 3군으로 일반적 물리치료군인 TM만 추출함) | 15 | TM 19, (TS 22, OG 18) | - | 13.5 (중재 6.6, 비교군 TM 10.5) | 중재 45, 비교군 TM 39.3 | 중재군85.7, 비교군 82.3 | NR | NR | Lower Extremity Motor Score (left/right) | ㆍ중재군 12.7/12.9 ㆍ대조군 12.9/13.6 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | ㆍ보행속도 2.6km/h로 시작, 최대 3.2km/h까지 도달, 목표, 매주 0.16km/h씩 속도 증가 ㆍ체중지원은 속도에 적응할 수 있도록 조절 | ㆍ60분/회(준비 15분, 운동 45분) ㆍ5일/주 ㆍ12주, 총 60회 | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) | 과도한 무릎신전 및 발끌림 등을 방지하기 위해 체중지원 조절함, 체중지원은 30% 이하로 조절 Behrman and Harkem의 지침에 따라 걸음 훈련 지원 | 체중지원 트레드밀 | ㆍ60분/회(준비 15분, 운동 45분) ㆍ5일/주 ㆍ12주, 총 60회 | 중재직후 12주 (임상증상 개선된 10명만 6개월 추적관찰) | overground training과 트레트밀 훈련은 보행속도를 개선시키고 overground training은 보행거리도 향상시킴 | 4248, 4702 동일 연구, 결과지표 다름
국내_344 | 송명수 (2012) | RCT | NR | 한국 | 1 | NR | 불완전 척수손상 | 급성 | <선택기준> ㆍ유병기간이 1개월 이하 척수손상 입원환자 ㆍMMSE ≥ 24점 ㆍ도움을 받고 15m이상 보행이 가능한 자 <배제기준> ㆍ골절이나 하지의 체중부하 금기증, 피부 손상이나 욕창이 있는 자, 기립성 저혈압과 심혈관 질환자 | 22 | 2 | 11 | 11 | - | 0 | 중재군 53.7세 비교군 53.2세 | 72.7 | 중재군 20.18일, 비교군 20일 | NR | - | - | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | ㆍ트레드밀과 동적 체중 지지도구, 가상현실프로그램을 보여주기 위한 모니터로 결합된 장치사용 ㆍ체중지지, 속도, 관절각도 등은 환자에 따라 조절 | ㆍ20분일반적인 물리치료+20분 로봇보행훈련/회 ㆍ일반물리치료는 근력운동, 유연성운동 ㆍ5회/주 ㆍ4주간, 총 20회 | 일반적인 물리치료 | ㆍ일반물리치료는 근력운동, 유연성운동 | - | ㆍ5회/주 ㆍ4주간, 총 20회 | 4주 | 로봇-보행훈련이 척수손상환자의 보행능력에 긍정적인 영향을 미침
148 | Yildirim (2019) | RCT | NR | 터키 | 1 | NR | 완전/불완전 척수손상 | 아급성 | <선택기준> ㆍAmerican Spinal Injury Association Impairment Scale (AIS) 로 분류, 불완전한 A,B,C,D로 분류(T6이상, AIS-C,D이상) ㆍ18–65세 ㆍ6개월 이내 손상 발생 ㆍ손상전에 독립보행이 가능했던 환자 <배제기준> ㆍ이전에 로봇치료 받았던 경험 있음 ㆍ하지에 심각한 경직(spasticity), 강직(rigidity), 구축(contracture), 골절이 있음 ㆍ심각한 골다공증 ㆍ하지와 골반압력궤양 있음 ㆍ기타 보행에 영향을 미치는 신경학적 질병 ㆍ조절안되는 심장질환, 임신, 심각한 인지장애나 의사소통 질환이 있음 | 88 | 2 | 44 | 44 | - | 0 | 중재군 53.7세 비교군 53.2세 | 62.5 | 중재군 3개월, 비교군 2개월 | 중재군/비교군 -외상성:비외상성: 34:10/34:10 -Level(Lumbar:thoracic) :10:25/9:28 -Level(사지마비:편측마비) :9:35/7:37 -ASIA(완전:불완전):21:23/18:26 | - | - | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | ㆍ컴퓨터로 힘 조절이 가능한 4개 모터와 실시간 피트백가능한 모니터로 환자 동기부여 ㆍ인체공항적 구조로 손으로 잡을수 있는 바, 높이, 폭 조절 가능 ㆍ걷기훈련 처음 시작할때 체중 절반정도를 서포트하고, 점점 서포트를 줄여감 ㆍ재활프로그램이 끝나갈때는 걷기훈련은 full body weight로 종료함 | ㆍ로봇치료: 16회, 8주간, 2회/주 ㆍ일반물리치료:2회/일, 5회/주 -각 세션별로 걷기훈련(30분) | conventional treatment | 일반 물리치료 | - | ㆍ2회/일, 5회/주 | 8주 | 로봇-보행훈련+일반 물리치료법이 보행 기능과 장애 수준측면에서 기존물리치료법 보다 더 우월하다는것을 밝힘
212 | Chang (2018) | RCT | NCT03011099 | 미국 | 1 | 2014.1~2015.3 | 불완전 척수손상 | 만성 | <선택기준> ㆍ18세 이상, 남성,임신하지않은 여성 ㆍ상해 후 6개월 지남 ㆍ키 1.5~1.88m, 몸무게 100kg이하 ㆍ독립적으로 2분서있을 수 있는 사람(보장구 없이) ㆍ인지평가를 위한 3단계 지시를 따라옴 <배제기준> ㆍ하지 근육 뉴런 손상에 대한 임상 증상있음 ㆍSCI외에 심각한 신경학적 외상력 ㆍ심각한 동반질환(활성감염, 심장, 폐, 순환계 증상, 압력 궤양이나 피부 관련질환, 엉덩이나 척추에 영향 미칠수 있는 심각한 골다공증, 심각한 하지경직(Modified Ashworth 3이상) 이나 조절되지 않는 간헐성경련, 회복되지 않은 하체나 골반 골절 ㆍ정상적인 보행패턴을 하는데 제한이 있거나, 앉았다 일어났다 하는데 제한이 있을때 ㆍ앞쪽 rolling walker나 목발을 쓸때 지지와 균형을 유지할수 있는 능력이 없는 상체 힘이 없을때 ㆍ하지에서 ROM에 저항하는 이질적 골화 ㆍ경축(엉덩이 15도, 무릎 20도 이상) ㆍ운동 계획이나 충동문제를 야기하는 정신적 문제 ㆍ연구에 참여하기 3개월 전에 물리치료 받은 사람 | 9 | 2 | 4 | 5 | - | 22(40 vs 0) | 57.5 (56세/60세) | 71.4 | 평균 11.2 (15년/7년) | AIS C: 중재군25%,대조군 33.3% AIS D: 중재군75%, 대조군 66% | - | - | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | ㆍ일어나고 서기, 균형, 체중 실기, 걷기, 돌기, 앉았다가 일어나기 | ㆍ60분, 5회/주, 3주간실시, 총 15회 ㆍ같은정도와 양으로 매일 규직적으로 신체활동 및 운동 유지 | physical therapy | ㆍ같은정도와 양으로 매일 규직적으로 신체활동 및 운동 유지 ㆍ스트레칭, 강화, 균형훈련, 앉기, 앉았다 일어나기, 계단, 걷기 훈련 | - | ㆍ60분, 5회/주, 3주간실시, 총 15회 | 3주 | 로봇재활훈련은 불완전 척수손상을 가진 개인에게 적용될 수 있음 피험자는 치료를 견딜 수 있었지만, 외골격 크기의 범위가 더 넓은 환자 코호트를 모으기에 제한요인이 될 수 있음
216 | Wu (2018) | RCT | NR | 미국 | 1 | 2010~2013 | 불완전 척수손상 | NR | <선택기준> ㆍ18-65세 ㆍ의학적으로 안정된 상태로 참여 ㆍ척수 병변이 C2-T10 수준 ㆍ두 다리의 수동적 가동범위가 보행을 위한 기능한계 이내 ㆍ골다공증이 무릎을 넘지 않음 <배제기준> ㆍ치료되지 않은 욕창, 감염 있을때 ㆍ심각한 심혈관계, 폐질환 ㆍ중추 혹은 말초신경 손상 ㆍ하지의 재발성 골절이나 알려지지 않은 정형외과 외상력 ㆍ6개월 내 보톡스 주사 맞는 이력 | 16 | 2 | 8 | 8 | - | 12.5(1vs1) | 48.4세 vs 48.1세 | 75% | 5.8년 vs 9.4년 | AIS C: 2/16명(12.5%) AIS D: 14/16명(87.5%) | - | - | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | ㆍ트레드밀 걷기를 하면서 골반과 다리에 힘을 가해 조절할 수 있도록 해줌 ㆍ4개의 나이론 코팅된 스테인리스스틸 케이블(1.6mm)를 4개의 모터와 케이블 스풀로 조절함 ㆍ2개의 운동화된 케이블이 커스텀 멜빵에 부착되어 골반에 힘을 조절하도록 도와주고, 체중 이동을 용이하게 해주기 위해 골반에 제어 보조력을 제공함 ㆍ발목 위 다리에 묶인 교정기에 2개의 전동케이블 부착해 다리 스윙을 보조하는 통제력 제공 ㆍLabVIEW에 프로그래밍된 인터페이스 이용해 제어함 ㆍ골반, 다리보조하중을 trigger하는데 사용된 발목 궤적 신호를 측정하기 위해 맞춤형 3차원 위치 탐지기의 두 세트 사용 ㆍ위치 감지기 로드3개, 전위차계 12개 구성 | ㆍ주 3회, 6주 ㆍ총 18회 | treadmill training (only) | ㆍ환자가 편한 속도로 맞춰 걷을수 있게함 | - | ㆍ주3회, 6주간 ㆍ45분(35분 트레드밀 훈련 + 10분 오버그라운드 걷기) ㆍ1-3분정도 휴식 | 8주 | 로봇 트레이니한 그룹에서 중재 후 6분걷기 결과가 유의하게 개선되었지만, 두 그룹간의 걷기 속도 개선에는 유의한 차이가 없었음 하지만 로봇 트레이닝한 환자가 트레드밀 치료만 환자들보다 더 많이 개선된 결과를 보임(15% vs 2%) -> 골반을 지지해주는 체중 지지 기능이 있는 트레들밀 훈련을 SCI 환자에서 운동기능을 개선시키는데 사용할 수 있음
308 | Alcobendas-Maestro (2012) | RCT | NR | 스페인 | 1 | 2006.11~2008.9 | 불완전 척수손상 | 만성 | <선택기준> ㆍC2-T12 척수손상으로 AIS등급 C 및 D로 분류되고, 상부 운동뉴런에서만 발견되는 외상성, 비외상성, 비진행성 병변 ㆍ발병 6개월 이내 ㆍ16-70세 ㆍ외부오둠을 받으면 서있을 수 있으나 걸을 수 없는 상태가 된지 1주일 된 사람 ㆍ동의 <배제기준> ㆍ정형외과 외상으로 불안정한 상태 ㆍ골다공증으로 병적골절 위험이 높음 ㆍ피부손상 혹은 압력 궤양이 Lokomat 벨트나 허벅지 스트랩이 닿는 부위에 생긴 상태 ㆍ관절 강직 ㆍ하체 길이가 2cm이상 비대칭일때 ㆍ폐 혹은 심장 질환때문에 운동중 모니터링이 필요할떄 ㆍ체중 150kg이상 ㆍ이전에 척수손상 앓은적 있음 | 75 | 2 | 37 | 38 | - | - | 45.2세 vs 49.5세 | 62% vs 63% | 120일 vs 135일 | ASIA C: 68% vs 71% AISA D: 32% vs 29% | <Etiology> Traumatic: 49% vs 47% non-trauma: 51% vs 53% | - | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | ㆍ모든 참가자는 관절동원 운동, 초근육 및 잔여운동기능강화, 경련성치료를 위한 근육 스트레칭 및 자세이완,등 표준 물리치료프로그램 받음 ㆍ보장구가 필요하면 손상 수준에 따라 처방되었고, 두발로 걷는 운동, 체중이동, 신체 이동훈련 받음 ㆍLokomat을 이용한 치료는 처음에 체중 60%로 body-weight support를 받았다가, 25%까지 줄임 ㆍ속도는 환자가 가장 편한해 하는 속도로 선택 ㆍ훈련된 물리치료사와 함께 함 | ㆍ30분 ㆍ주 5회, 8주 ㆍ총 40회 | conventional overground training+standard physical treatment | ㆍ모든 참가자는 관절동원 운동, 초근육 및 잔여운동기능강화, 경련성치료를 위한 근육 스트레칭 및 자세이완,등 표준 물리치료프로그램 받음 ㆍ보장구가 필요하면 손상 수준에 따라 처방되었고, 두발로 걷는 운동, 체중이동, 신체 이동훈련 받음 | - | ㆍ총 40회 ㆍ5회/주,8주 ㆍ1시간 | 8주 | 로봇재활훈련은 비진행성 척수손상 환자들에게 걷기훈련과 비슷한 걷기속도를 보여주었다. 하지만 로봇그룹에서 다리 힘이 더 강했기 때문에 정형외과와 보조기의 필요성이 줄어든 것으로 보임
405 | Piira (2019) | RCT | NCT00854555 | 노르웨이 | 2(병원 or 광고) |  | 불완전 척수손상 | 만성 | <선택기준> ㆍ18-70세 ㆍASIA AIS C 혹은 D ㆍ유병 2년이상 ㆍ휠체어 없이, 걷기기능 있음 ㆍBMI 30이하 ㆍ인지영향 없음 <배제기준> ㆍ이동제한이 있거나 로봇훈련이용하는데 제한이 있는 사람 | 19 | 2 | 7 | 12 | - | - | 55세 vs 46세 | 57% vs 42% | 21년 vs 15년 | AIS C: 14% vs 42% AIS D: 86% vs 58% | traumatic: 86% vs 50% | - | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | ㆍ20-30분간 준비(스트레칭 등) ㆍ20-60분간 body-weight support 40%이하로 트레드밀 훈련 ㆍ마지막으로 시간이 되는동안 트레드밀에서 걷기거나 운동을 같이 하고 종료함 ㆍ피실험자의 발과 엉덩이는 전동 교정이게 고정되어 있음 | ㆍ20-60분 ㆍ60일 ㆍ트레이닝 세션은 주3회, 6개월 실시 | low-intensity usual care from their local physical therapist | ㆍ저강도 일반치료 수행 | - | ㆍ주 1-5회 ㆍ6개월 | 2-4주 | 최신 로봇재활 훈련은 독립적인 보행기능을 다시 확립시키진 못함 근력과 균형에 미미하지만 중요하지 않은 효과가 있었고, 그룹간 유의한 차이는 대조군의 자세제어에서만 나타남
3244 | Shin (2014) | RCT | NR | 한국 | 1 | 2020.5~2014.5 | 불완전 척수손상 | NR | <선택기준> ㆍ외상/비외상성 때문에 생긴 진행성 척수 lesion 없음 ㆍ발병 6개월이내 ㆍASIA scale D ㆍ20-65세 <배제기준> ㆍ압력 궤양, 엉덩이와 무릎관절에 심각한 ROM 제한 있는 사람 ㆍ심각한 인지장애 ㆍ폐 혹은 심장질환으로 운동시 모니터링 필요한 사람 ㆍ마미손상(Cuada equina injury)같은 하지 운동뉴런 lesion 이나 이전에 RAGT 받아본적 있는 사람 | 53 | 2 | 27 | 26 | - | 7/60명(11.7%) | 43.2세vs48.1세 | 74% vs 54% | 3.33개월 vs 2.73개월 | - | traumatic: 67% vs 19% non-t: 33% vs 27% | - | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 1.5 km/h로 속도 고정, 치료 시작에는 환자bodyweight의 50%로 설정하고, 회차 진행될수록 비율 줄임. Guidance 힘은 100%유지 | (주3일 RAGT, 주2일 물리치료) 주 3회, 40분간 진행 + 규직척인 물리치료, 4주간 진행 RAGT 하는날에도 physiotherapy1회 RAGT1회에 준비시간까지 포함해 1시간 소요, 실제 훈련시간은 40분, 물리치료는 30분간진행 | 일반재활치료(physical therapy) | Bobath principle를 이용 | - | ㆍ1일 2회 ㆍ주 5회 | 4주 | RAGT+일반재활치료를 같이한 군에서는일반재활치료만 한 군보다 보행기능이 더 좋아졌음. RAGT는 불완전SCI 환자에서 신경근육재건?(reeducation)을 도움을 주는 추가적 도구로 사용가능해보임
3505 | Midik (2020) | RCT | NR | 터키 | 1 | 2011.9~2013.2 | 불완전 척수손상 | NR |  | 30 | 2 | 15 | 15 | - | - | 36.6세 | - | median값 5개월 vs 24개월 | - | AIS C: 40% vs 66.7% AIS D: 60% vs 33.3% | - | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 1.5km/h로 처음설정하고 점차 환자가 할 수 있는 만큼 속도 올림. 환자의 체중 50%정도를 body weight support system,하고 환자가 버틸 수 있는 만큼 줄임 | ㆍ30분 ㆍ주3회, 5주간 실시 ㆍ총 15회 | 일반재활치료 | ROM 운동, 강화운동, 신체 안정, self-care 능력, 바닥 걷기 훈련 | - | 주 5일, 매회 30분 | 3개월 | 기존 재활이 불완전 SCI환자의 하지 운동기능, 보행 및 기능 상태 향상 측면에서 유용함. 또한 RAGT를 추가로 사용하게 되면 하지 운동 기능과 독립 기능이 더 향상됨
10 | Esclarin-Ruz (2014) | RCT | NR | 스페인 | NR | 2007.11~2010.12 | 불완전 척수손상 | NR | <선택기준> ㆍSCI C2-T11면서, UMN Finding으로 ASIA C, D 등급 ㆍSCI T12-L3면서, LMN Finding으로 ASIA C,D 등급 ㆍ외상성, 비외상성, 비진행성 병변 ㆍ발병한지 6개월 미만 ㆍ16-70세 ㆍ1개월 이전에 최소한 도움을 받으며 설 수 있었음 ㆍ연구참여 동의 <배제사유> ㆍ정형외과 외상으로 불안정 ㆍ골다공증으로 골절 위험있음 ㆍ피부 병변 혹은 압력 궤양이 Lokomat 벨트부분에 있을때 ㆍ관절 강직 ㆍ하지에 2cm 이상의 비대칭 ㆍ운동중 관찰이 필요한 폐 혹은 심장질환 ㆍ몸무게 150kg 이상 ㆍ이전에 척수손상 있을때 | 41 | 2 | 20 | 21 | - | 6.8% | 중재군36.4세 대조군 42.7세 | 중재군70% 대조군 80.9% | 중재군117.9일 대조군 109일 | 중재군(20) 외상성: 14, 비외상성:6 대조군(21) 외상성: 15, 비외상성;6 | AIS(american spinal injury association impairment scale) | 중재군 ASIA C: 14, ASIA D:7 대조군 ASIA C: 15, ASIA D:6 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | ㆍbody-weight support system으로 트레드밀에서 운동요법을 자동으로 해줌 ㆍ지지 무게는 처음 개인 무게의 60%로 설정되고, 경우에 따라 25%까지 내려감 ㆍ환자가 편한해하는 속도로 진행 ㆍ물리치료사 감독하게 실시 | ㆍ각 30분씩 진행 ㆍ8주 ㆍ총 40회 | OGT(conventional overground training) | ㆍ척수손상수준에 따라 관절동원운동, 초근육강화, 운동기능, 근육스트레칭, 자세운동 같은 표준 물리치료 프로그램 실시 ㆍ경련성치료, 몸통 안정화, 회전운동, 자가 관리기술실습등을 위한 이완기술 등 훈련 | - | ㆍ총 40회 ㆍ8주간, 주5회 ㆍ60분간실시 | 8주 | 로봇치료는 UMN환자와 LMN환자에서 6m걷기, LEMS 지표가 더 좋은 결과를 얻음
3706 | Kwon(2020) | RCT (Cross-over) | NR | 한국 | 1 | 2017.3~2019.3 | 척수손상 | NR | <선택기준> ㆍ척수손상 이후 3개월 이상 ㆍSCI T1-L5, ASIA scale A-B ㆍ18-59세 ㆍ독립보행 가능함 ㆍ키 160-190cm, 몸무게 100kg이하 <배제기준> ㆍ여러 신경질환이 추가로 있는 사람(다발성경화증, 뇌성마비, 루게릭병, 외상성뇌손상, 뇌졸중) ㆍ이전에 질환력 있는 사람(감염, 심혈관질환, 압력궤양 ㆍ척수 불안정, 회복되지 않은 상처, 골반 골절, 엉덩이와 무릎 ROM 90이하, 심각한 강직, 여러 골다공증으로 골절 위험이 있는 사람, 정신적 혹은 인지 장애, 이전에 로봇 보행치료 해본사람, 연구동의 얻는데 실패한 사람 | 10 | 2 | 10 | 10 | - | 10% | 31+/-10.3세 | 80% | 26일+/-19.4개월 | T4,T5,T6,T8 각 1평, T10 4명 T11 2명 | ASIA A해당, 하지 근육 강도 점수 0 | - | 로봇 | 1 | 1 | ReWalk | ㆍRewalk는 체중을 지지하기 위해 양쪽 목발이 필요함 ㆍ두 목발을 동시에 전진시키고 현재 기계의 anterior truncal tilting(4-20도)가 있는 경우, 틸트 센서가 경사를 감지하고 순차적으로 각 발을 앞으로 전진시켜 걷게 함 | ㆍ60-90분 ㆍ총 20세션, 4주간 ㆍ2주 wash out ㆍ중재를 바꿔 다시 20세션 4주간 실시함 | KAFO-gait | ㆍKAFO를 이용할때 환자의 무게중심은 서있는 위치 전방에 위치함 ㆍ한걸음 나가면 이어서 트렁크 움직임과 골반회전을 통해 각 발을 앞으로 전진 |  | ㆍ60-90분 ㆍ총 20세션, 4주간 ㆍ2주 wash out ㆍ중재를 바꿔 다시 20세션 4주간 실시함 | 4주 | ReWalk를 이용하는것이 KAFO를 쓰는것보다 6MWT, 30MWT 결과에서 통계적으로 유의하게 에너지 효율이 좋음. 하지만 걸음 걸이나 속도(30MWT) 에서는 차이가 없었음 마비가 있는 환자들에서 낮은 에너지를 소모하며 걸을수 있는 KAFO와 ReWalk를 비교했을때, Rewalk는 KAFO보다 환자들의 만족도가 높지 않았음

## 2_안전성
No. | 1저자(연도) | 안전성
4248 | Nooijen (2009) | 언급없음
4702 | Field-Fote (2011) | 언급없음
국내_344 | 송명수 (2012) | 언급없음
148 | Yildirim (2019) | 언급없음
212 | Chang (2018) | Regarding the treatment reliability, in the CPT group, all subjects completed the assessment and training sessions without the occurrence of an adverse event. In the EGT group, only one subject acquired ankle soreness after a training session. However, the subject was able to continue the study protocol once the ankle soreness disappeared. -The only adverse event (ankle soreness) occurred during the EGT, showing that EGT is safe and the training protocol was tolerable.
216 | Wu (2018) | 언급없음
308 | Alcobendas-Maestro (2012) | 언급없음
405 | Piira (2019) | The intervention was well tolerated with no adverse events, except for minor issues such as small leg abrasions.
3244 | Shin (2014) | 언급없음
3505 | Midik (2020) | 언급없음
10 | Esclarin-Ruz (2014) | 언급없음
3706 | Kwon(2020) | 언급없음

## 3_결과지표_연속형
연속형 결과변수
결과지표별로 한줄씩 아래로 삽입
하위그룹값 있는 경우 추가
측정시점: 중재직후의 경우 중재기간(표시), 추적관잘기간은 중재직후 시점으로 표시, 시작기준인지, 중재후 인지 표시후 O개월, 불가능할 경우 NR O개월
아래 회색칼럼은 입력하지 않아도 됨. Vlookup 적용중, 문헌특성에 입력하면 동일 번호값 자동입력됨
no. | 1저자 (연도) | 연구설계 | 질환 | 질환분류 | 중재군명 | 중재군 병행요법수 | 로봇분류 | 로봇 기기명 | 대조군명 | 하위그룹 | 결과그룹 | 결과지표명 | 측정도구/ 단위 | 정의 | 측정시점 (개월) | 중재군 |  |  | 대조군 |  |  | 최종-기저평균차(변화량) |  |  |  | 두 군간 차이 | 비고
[16 empty] | N | mean | SD | N | mean | SD | 중재군 | 변화량 SD | 대조군 | 변화량 SD | P value
4248 | Nooijen (2009) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | 분당 걸음수(cadence) | steps/minute |  | 중재직후 12주 | 14 |  |  | 17 |  |  | 1.5 | NR | 2.3 | NR | NR
4248 | Nooijen (2009) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | step length | m |  | 중재직후 12주 | 14 |  |  | 17 |  |  | 0.01 | NR | 0.3 | NR | NR
4248 | Nooijen (2009) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | stride length | m |  | 중재직후 12주 | 14 |  |  | 17 |  |  | 0.01 | NR | 0.07 | NR | NR
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | 10분걷기 속도 | m/s |  | 0 | 14 | 0.17 | 0.1 | 17 | 0.17 | 0.14
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | 2분걷기 거리 | m |  | 0 | 14 | 16.8 | 11.3 | 17 | 22.1 | 21.4
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 하지운동점수 | LEMS(Lower Extremity Motor Score), left leg | 점수 |  | 0 | 14 | 12.7 | 6.9 | 17 | 12.9 | 5.3
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 하지운동점수 | LEMS(Lower Extremity Motor Score), right leg | 점수 |  | 0 | 14 | 12.9 | 6.4 | 17 | 13.6 | 6.4
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | 10분걷기 속도 | m/s |  | 중재직후 12주 | 14 | 0.18 | 0.1 | 17 | 0.22 | 0.17 | 0.01 | 0.05 | 0.04 | 0.07
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 보행특성 | 2분걷기 거리 | m |  | 중재직후 12주 | 14 | 17.9 | 11.9 | 17 | 23 | 21.1 | 1.2 | 5.1 | 0.8 | 7.7
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 하지운동점수 | LEMS(Lower Extremity Motor Score), left leg | 점수 |  | 중재직후 12주 | 14 | 13.9 | 6.5 | 17 | 14.6 | 5.7 | 1.2 | 3.2 | 1.7 | 1.8
4702 | Field-Fote (2011) | RCT | 불완전 척수손상 | 만성 | 로봇을 이용한 체중지원 훈련(BWSLT on the treadmill with assistance of a locomotor robot) | 1 | 1 | Lokomat | 체중지원 트레드밀프로그램(BWSLT on the treadmill with manual assistance for stepping (TM)) |  | 하지운동점수 | LEMS(Lower Extremity Motor Score), right leg | 점수 |  | 중재직후 12주 | 14 | 14.1 | 6.6 | 17 | 15.2 | 6.3 | 1.3 | 1.5 | 1.5 | 2.1
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 균형 | TETRAX 평가: 독립적인 4개영역(좌, 우측 발가락부분과 뒤꿈치)의 체중부하 여부에 따라 낙상위험도를 예측 | 점수 | 0~100점: 점수 높을 수록 낙상발생위험이 높음 | 0 | 11 | 82.72 | 15.52 | 11 | 83.18 | 18.61
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 균형 | TETRAX 평가: 독립적인 4개영역(좌, 우측 발가락부분과 뒤꿈치)의 체중부하 여부에 따라 낙상위험도를 예측 | 점수 | 0~100점: 점수 높을 수록 낙상발생위험이 높음 | 중재직후 4주 | 11 | 45.9 | 10.57 | 11 | 58.36 | 10.88
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 보행특성 | 10m걷기 시간 | sec |  | 0 | 11 | 59.06 | 7.81 | 11 | 60.76 | 7.31
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 보행특성 | 10m걷기 시간 | sec |  | 중재직후 4주 | 11 | 15.58 | 1.88 | 11 | 21.23 | 5.53
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 보행특성 | 6MWT | m |  | 0 | 11 | 219.09 | 12.67 | 11 | 220.09 | 14.07
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 보행특성 | 6MWT | m |  | 중재직후 4주 | 11 | 264.81 | 15.91 | 11 | 244.72 | 23.13
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 독립적 일상생활 | mBI(수정된 바델 지수) | 점수 |  | 0 | 11 | 49.09 | 13.93 | 11 | 50.45 | 13.61
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | 급성 | 일반적인 물리치료+로봇보행치료(with 가상현실프로그램) | 2 | 1 | Lokomat | 일반적인 물리치료 |  | 독립적 일상생활 | mBI(수정된 바델 지수) | 점수 |  | 중재직후 4주 | 11 | 81.63 | 10.11 | 11 | 69.72 | 15.57
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  | 보행특성 | FIM(Functional independence measure) | 점수 | 7점척도 | admission | 44 | 69 | 31 | 44 | 67 | 36 |  |  |  |  | 0.576 | median(interquartile range)
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | FIM(Functional independence measure) | 점수 | 7점척도 | out | 44 | 85 | 35 | 44 | 77 | 24 |  |  |  |  | 0.118 | median(interquartile range) | 중재군: 전후값 p-value 0.0001 대조군: 전후값 p-value 0.0001
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | FIM(Functional independence measure) | 점수 | 7점척도 | healing rate(%) | 44 | 4 | 11.1 | 44 | 2 | 7.5 |  |  |  |  | 0.022 | median(interquartile range)
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | WISCI II(Walking Index SCI II) | 점수 | 0-20점(0:보행x, 20:독립보행) | admission | 44 | 5 | 9 | 44 | 5 | 6.7 |  |  |  |  | 0.521 | median(interquartile range)
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | WISCI II(Walking Index SCI II) | 점수 | 0-20점(0:보행x, 20:독립보행) | out | 44 | 9 | 7 | 44 | 6.5 | 5 |  |  |  |  | 0.028 | median(interquartile range) | 중재군: 전후값 p-value 0.0001 대조군: 전후값 p-value 0.001
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | WISCI II(Walking Index SCI II) | 점수 | 0-20점(0:보행x, 20:독립보행) | healing rate(%) | 44 | 5 | 38.8 | 44 | 0 | 10 |  |  |  |  | 0.011 | median(interquartile range)
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | 아급성 | robotic assisted gait training+ conventional therapy | 2 | 1 | Lokomat | conventional treatment |  |  | WISCI II 당 post hoc power계산한값 |  |  |  | 44 | 16.9 | 20.5 | 44 | 5 | 8.3 | [5 empty] | 복원데이터의 93.1%를 기본으로함 a error 0.05
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | swing percentage |  |  | pre- | 4 | 16.5 | 7.6 | 3 | 24.5 | 8.4
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | swing percentage |  |  | post(3주) | 4 | 18.3 | 7.5 | 3 | 26 | 9 | 1.8 | 95%CI (-5.8,9.4) | 2.4 | 95%CI (-0.3,3.4) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | stance percentage |  |  | pre- | 4 | 83.5 | 7.6 | 3 | 75.5 | 8.4
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | stance percentage |  |  | post(3주) | 4 | 81.7 | 7.5 | 3 | 74 | 9 | -1.8 | 95%CI (-9.4,5.8) | -2.3 | 95%CI (-3.4,0.3) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | step length | cm |  | pre- | 4 | 30 | 5.1 | 3 | 49.4 | 6.2
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | left |  | step length | cm |  | post(3주) | 4 | 32 | 7 | 3 | 46 | 9.6 | 2 | 95%CI (-1.7,5.7) | 4.4 | 95%CI (-11.9,5.1) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | swing percentage |  |  | pre- | 4 | 16.5 | 4.8 | 3 | 26.5 | 6.6
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | swing percentage |  |  | post(3주) | 4 | 18.8 | 8.6 | 3 | 25 | 7.3 | 1.8 | 95%CI (-6.5,11.2) | -1.5 | 95%CI (-7.0,4.1) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | stance percentage |  |  | pre- | 4 | 83.6 | 4.8 | 3 | 73.5 | 6.6
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | stance percentage |  |  | post(3주) | 4 | 81.2 | 8.6 | 3 | 75 | 7.3 | -1.8 | 95%CI (-11.2,6.5) | 1.5 | 95%CI (-4.1,7.0) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | step length | cm |  | pre- | 4 | 36 | 2.1 | 3 | 52.8 | 7
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy | right |  | step length | cm |  | post(3주) | 4 | 40.4 | 3.7 | 3 | 53.4 | 6.6 | 2 | 95%CI (0.7,8.0) | 1.2 | 95%CI (0.3,2.1) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | 10MWT | m/s |  | pre- | 4 | 0.17 | 0.01 | 3 | 0.51 | 0.28
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | 10MWT | m/s |  | post(3주) | 4 | 0.22 | 0.03 | 3 | 0.55 | 0.31 | 0.04 | 95%CI (-0.02,0.11) | 0.04 | 95%CI (-0.09,0.17) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | 6MWT | m |  | pre- | 4 | 50 | 23 | 3 | 147 | 87
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | 6MWT | m |  | post(3주) | 4 | 67 | 25 | 3 | 154 | 94 | 16.9 | 95%CI (1.2,32.5) | 7.7 | 95%CI (-9.3,24.7) | NR
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | TUG | s |  | pre- | 4 | 71 | 23 | 3 | 37 | 17
212 | Chang (2018) | RCT | 불완전 척수손상 | 만성 | exoskeleton-assisted gait training(EGT) | 1 | 3 | Ekso® (Ekso Bionics, Richmond, CA) | physical therapy |  |  | TUG | s |  | post(3주) | 4 | 55 | 8 | 3 | 36 | 17 | -15.4 | 95%CI (-47.5,16.6) | -1.6 | 95%CI (-2.6,-0.6) | NR
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step length | m |  | pre- | 8 | 0.4 | 0.08 | 8 | 0.44 | 0.07 | [5 empty] | SSV baseline p=0.07
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step length | m |  | post(6주) | 8 | 0.42 | 0.11 | 8 | 0.44 | 0.06
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step length | m |  | FU(8주) | 8 | 0.42 | 0.1 | 8 | 0.44 | 0.07
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step frequency | steps/minute |  | pre- | 8 | 47.4 | 1.68 | 8 | 73.9 | 22.5
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step frequency | steps/minute |  | post(6주) | 8 | 52 | 19.9 | 8 | 72.8 | 20.3
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Step frequency | steps/minute |  | FU(8주) | 8 | 50.9 | 17.2 | 8 | 75.1 | 22.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Stance time | % |  | pre- | 8 | 79.5 | 6.4 | 8 | 71.6 | 4.6
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Stance time | % |  | post(6주) | 8 | 78 | 7.1 | 8 | 73.1 | 4.5
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | Stance time | % |  | FU(8주) | 8 | 79 | 7 | 8 | 73.1 | 4
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | single leg support time |  |  | pre- | 8 | 20.5 | 6.4 | 8 | 28.4 | 4.6
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | single leg support time |  |  | post(6주) | 8 | 22 | 3.6 | 8 | 28.7 | 5.4
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (SSV) | single leg support time |  |  | FU(8주) | 8 | 21 | 6.9 | 8 | 28.3 | 4.2
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step length | m |  | pre- | 8 | 0.46 | 0.07 | 8 | 0.51 | 0.09 | [5 empty] | FV baseline p=0.09
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step length | m |  | post(6주) | 8 | 0.48 | 0.1 | 8 | 0.51 | 0.09
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step length | m |  | FU(8주) | 8 | 0.46 | 0.1 | 8 | 0.51 | 0.09
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step frequency | steps/minute |  | pre- | 8 | 60.7 | 21.4 | 8 | 89.5 | 28.5
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step frequency | steps/minute |  | post(6주) | 8 | 63.1 | 27.3 | 8 | 88.8 | 29.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Step frequency | steps/minute |  | FU(8주) | 8 | 64.2 | 23.6 | 8 | 92.6 | 31.4
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Stance time | % |  | pre- | 8 | 75.2 | 6.8 | 8 | 71.9 | 9.8
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Stance time | % |  | post(6주) | 8 | 74.4 | 7.5 | 8 | 70.3 | 5.2
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | Stance time | % |  | FU(8주) | 8 | 75 | 7.5 | 8 | 69.3 | 5.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | single leg support time |  |  | pre- | 8 | 24.6 | 6.8 | 8 | 33.8 | 8
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | single leg support time |  |  | post(6주) | 8 | 25.6 | 7.5 | 8 | 31.9 | 6.3
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Spatial-temporal gait parameters (FV) | single leg support time |  |  | FU(8주) | 8 | 25 | 7.5 | 8 | 31.9 | 5.2
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ASIA motor score (LEMS) |  |  | pre- | 8 | 35 | 13.9 | 8 | 42.6 | 4.6 |  |  |  |  | 0.23
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ASIA motor score (LEMS) |  |  | post(6주) | 8 | 34.6 | 12.3 | 8 | 41.9 | 5.3
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ASIA motor score (LEMS) |  |  | FU(8주) | 8 | 35.7 | 13.8 | 8 | 41.5 | 5.7
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | BBS |  |  | pre- | 8 | 32.7 | 19 | 8 | 40 | 10.8 |  |  |  |  | 0.44
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | BBS |  |  | post(6주) | 8 | 32.4 | 20 | 8 | 41.7 | 11.7
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | BBS |  |  | FU(8주) | 8 | 33.7 | 20.5 | 8 | 41.6 | 11.7
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ABC |  |  | pre- | 8 | 38.3 | 18 | 8 | 51.5 | 20.9 |  |  |  |  | 0.19
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ABC |  |  | post(6주) | 8 | 44.1 | 12.9 | 8 | 53.9 | 22.8
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | ABC |  |  | FU(8주) | 8 | 44.6 | 16.4 | 8 | 54.1 | 23.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, PCS |  |  | pre- | 8 | 36.3 | 3.7 | 8 | 39.2 | 6.3 |  |  |  |  | 0.03
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, PCS |  |  | post(6주) | 8 | 36.8 | 3.6 | 8 | 38.8 | 7.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, PCS |  |  | FU(8주) | 8 | 36.4 | 6 | 8 | 36.8 | 5.8
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, MCS |  |  | pre- | 8 | 57.2 | 8.5 | 8 | 53 | 14 |  |  |  |  | 0.43
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, MCS |  |  | post(6주) | 8 | 55.6 | 10.5 | 8 | 53.8 | 14.1
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | SF-36, MCS |  |  | FU(8주) | 8 | 54.8 | 11.5 | 8 | 53.4 | 11.9
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | MAS |  |  | pre- | 8 | 1.57 | 0.77 | 8 | 1.1 | 0.84 |  |  |  |  | 0.42
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | MAS |  |  | post(6주) | 8 | 1.73 | 1.08 | 8 | 0.9 | 0.83
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | MAS |  |  | FU(8주) | 8 | 1.5 | 1.91 | 8 | 1.09 | 0.86
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | 6MWT | m |  | pre- | 8 | 120 | 37 | 8 | 218 | 92
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | 6MWT | m |  | post(6주) | 8 | 157 | 59 | 8 | 225 | 96
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | 6MWT | m |  | FU(8주) | 8 | 151 | 60 | 8 | 229 | 93
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | self-selected walking speed | m/s |  | pre- | 8 | 0.33 | 0.15 | 8 | 0.56 | 0.24
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | self-selected walking speed | m/s |  | post(6주) | 8 | 0.39 | 0.2 | 8
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | self-selected walking speed | m/s |  | FU(8주) | 8 | 0.38 | 0.19 | 8 | 0.57 | 0.25
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | Fast walking speed | m/s |  | pre- | 8 | 0.48 | 0.22 | 8 | 0.8 | 0.34
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | Fast walking speed | m/s |  | post(6주) | 8 | 0.54 | 0.29 | 8 | 0.79 | 0.35
216 | Wu (2018) | RCT | 불완전 척수손상 | NR | robotic treadmill training | 1 | 1 | 3D cable-driven robotic system (3DCaLT) | treadmill training (only) |  | Other clinical outcome measurements | Fast walking speed | m/s |  | FU(8주) | 8 | 0.52 | 0.26 | 8 | 0.82 | 0.36
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | speed | m/s |  | baseline | 14 | 0.3 | 0.18-0.52 | 38 | 0.3 | 0.15-0.5 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | speed | m/s |  | post(8주) | 28 | 0.4 | 0.2-0.6 | 30 | 0.3 | 0.2-0.5 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | WISCI II | 점수 | 0-20 | baseline | 37 | 4 | 3-8 | 38 | 4 | 2.3-6 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | WISCI II | 점수 | 0-20 | post(8주) | 37 | 16 | 8.5-19 | 38 | 9 | 8-16 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | walk distance | m |  | baseline | 14 | 110.1 | 68.8-189 | 11 | 82.3 | 61-165.2 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | walk distance | m |  | post(8주) | 28 | 169.4 | 69.8-228.1 | 30 | 91.3 | 51.4-178.7 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | FIM-L | 점수 | 2-14 | baseline | 37 | 4 | 3-6 | 38 | 4 | 2-6 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | FIM-L | 점수 | 2-14 | post(8주) | 37 | 10 | 6-12 | 38 | 7 | 5-10 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | LEMS | 점수 | 0-50 | baseline | 37 | 33 | 24.5-38.9 | 38 | 30 | 23.7-36 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | LEMS | 점수 | 0-50 | post(8주) | 37 | 40 | 35-45.5 | 38 | 35 | 29.7-40 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | Ashworth | 점수 | 0-4 | baseline | 37 | 1 | 1-3 | 38 | 1 | 0-1.2 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | Ashworth | 점수 | 0-4 | post(8주) | 37 | 2 | 1-4 | 38 | 1 | 1-3 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | VAS | 점수 | 0-10 | baseline | 37 | 0 | 0-5 | 38 | 0 | 0-5 | [5 empty] | median(interquartile range)
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | 만성 | standard physical treatment+Lokomat | 2 | 1 | locomat+walking training | conventional overground training+standard physical treatment |  |  | VAS | 점수 | 0-10 | post(8주) | 37 | 0 | 0-6 | 38 | 0 | 0-3.5 | [5 empty] | median(interquartile range)
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | 10MWT | m/s |  | baseline | 7 | 0.3 | (0.1.0.7) | 12 | 0.6 | (0.1.1.0) | 7 | 0(–0.1–0.1) | 9 | 0.1(-0.1-0.6) | 0.61 | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | 10MWT | m/s |  | 2-4주 | 7 | 0.3 |  | 12 | [7 empty] | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | 6MWT | m |  | baseline | 7 | 82.3 | (25.0.214.5) | 12 | 170.4 | (63.0.390.0) | 7 | 6.6(–14.0–34.0) | 9 | 23.1(-45.0-43.0) | 0.84 | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | 6MWT | m |  | 2-4주 | 7 |  |  | 12 | [7 empty] | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | LEMS |  |  | baseline | 7 | 28.4 | (14.0.38.0) | 12 | 27.2 | (9.0.47.0) | 7 | 5.4(–1.0–19.0) | 12 | 0.2(-11.0.7.0) | 0.17 | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | LEMS |  |  | 2-4주 | 7 |  |  | 12 | [7 empty] | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | BBS |  |  | baseline | 7 | 18.3 | (5.0.37.0) | 12 | 19.8 | (4.0.48.0) | 7 | 4.3(0–10.0) | 12 | 3.2(-1.0-9.0) | 0.48 | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | BBS |  |  | 2-4주 | 7 |  |  | 12 | [7 empty] | mean change, SD=range
405 | Piira (2019) | RCT | 불완전 척수손상 | 만성 | ROBOT-ASSISTED LOCOMOTOR TRAINING | 1 | 1 | Lokomat + training session | low-intensity usual care from their local physical therapist |  |  | MFR | cm |  | baseline | 7 | 47 | (42.0.55.0) | 12 | 43 | (20.0.55.0) | 7 | –11.0(–19.0–0) | 12 | -2.4(-14.0--8.0) | 0.03 | mean change, SD=range
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | LEMS |  |  | entry | 27 | 31 | 12-40 | 26 | 33 | 20-40 | [5 empty] | median(interquartile range)
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | LEMS |  |  | end | 27 | 37 | 20-49 | 26 | 37 | 20-48 |  |  |  |  | 0.24 | median(interquartile range) | 전후 p 0.001
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | AMI |  |  | entry | 27 | 21 | 10-30 | 26 | 23 | 13-30 | [5 empty] | median(interquartile range)
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | AMI |  |  | end | 27 | 25 | 15-30 | 26 | 26 | 16-30 |  |  |  |  | 0.06 | median(interquartile range) | 전후 p 0.001
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | SCIM3-M |  |  | entry | 27 | 4 | 0-11 | 26 | 6 | 0-18 | [5 empty] | median(interquartile range)
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | SCIM3-M |  |  | end | 27 | 10 | 0-26 | 26 | 9 | 0-33 |  |  |  |  | 0.13 | median(interquartile range) | 전후 p 0.001
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | WISCI-II |  |  | entry | 27 | 3 | 0-14 | 26 | 4 | 0-16 | [5 empty] | median(interquartile range)
3244 | Shin (2014) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+regular physiotherapy | 1 | 1 | Lokomat | 일반재활치료(physical therapy) |  |  | WISCI-II |  |  | end | 27 | 11 | 0-19 | 26 | 9 | 0-20 |  |  |  |  | 0.01 | median(interquartile range) | 전후 p 0.001
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | LEMS |  |  | t1(baseline) | 15 | 27.1 | 3.3 | 15 | 23.8 | 2.3 |  |  |  |  | 0.419 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | LEMS |  |  | t2(5주) | 15 | 28.9 | 3.6 | 15 | 24.4 | 2.2 |  |  |  |  | 0.289 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | LEMS |  |  | t3(3개월 | 15 | 29.1 | 3.7 | 15 | 24.4 | 2.2 |  |  |  |  | 0.27 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | WISCI |  |  | t1(baseline) | 15 | 9.8 | 1.4 | 15 | 11 | 1.1 |  |  |  |  | 0.459 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | WISCI |  |  | t2(5주) | 15 | 13.7 | 1.1 | 15 | 13.6 | 1 |  |  |  |  | 0.464 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | WISCI |  |  | t3(3개월 | 15 | 14.1 | 1.1 | 15 | 13.6 | 1 |  |  |  |  | 0.963 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | SCIM |  |  | t1(baseline) | 15 | 69.1 | 4.9 | 15 | 69.2 | 3 |  |  |  |  | 0.991 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | SCIM |  |  | t2(5주) | 15 | 79.1 | 4.6 | 15 | 76.2 | 2.4 |  |  |  |  | 0.579 | mean+/-SE | 두군간차이: Adjusted p values
3505 | Midik (2020) | RCT | 불완전 척수손상 | NR | 로봇(RAGT)+일반재활치료 | 2 | 1 | Lokomat Prodevice | 일반재활치료 |  |  | SCIM |  |  | t3(3개월 | 15 | 85.6 | 2.2 | 15 | 76.8 | 2.4 |  |  |  |  | 0.008 | mean+/-SE | 두군간차이: Adjusted p values
10 | Esclarin-Ruz (2014) | RCT | 불완전 척수손상 | NR | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | WISCI II |  |  | 8주 | 20 | 12.45 | 4.7 | 21 | 10.8 | 4.54
10 | Esclarin-Ruz (2014) | RCT | 불완전 척수손상 | NR | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | LEMS |  |  | 8주 | 20 | 27.15 | 11.1 | 21 | 22.57 | 10.8
10 | Esclarin-Ruz (2014) | RCT | 불완전 척수손상 | NR | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | FIM-L |  |  | 8주 | 20 | 8.9 | 2.61 | 21 | 8.67 | 2.65
10 | Esclarin-Ruz (2014) | RCT | 불완전 척수손상 | NR | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 10MWT | m/s |  | 8주 | 19 | 0.46 | 0.25 | 19 | 0.45 | 0.41
10 | Esclarin-Ruz (2014) | RCT | 불완전 척수손상 | NR | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 6MWT | m |  | 8주 | 18 | 157.54 | 89.51 | 17 | 145.62 | 125.15
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 6MWT(distance) | m |  | 4주 | 10 | 39.1 | 5.4 | 10 | 50.9 | 25.5 |  |  |  |  | 0.108
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 6MWT(speed) | m/s |  | 4주 | 10 | 6 | 2.4 | 10 | 9.6 | 4.2 |  |  |  |  | 0.021
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 6MWT(cadence) | step/minute |  | 4주 | 10 | 20.9 | 7.1 | 10 | 25.2 | 6.3 |  |  |  |  | 0.125
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 30MWT(distance) | m |  | 4주 | 10 | 196.2 | 35.7 | 10 | 242.9 | 119.8 |  |  |  |  | 0.156
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 30MWT(speed) | m/s |  | 4주 | 10 | 6.6 | 1.2 | 10 | 8.4 | 4.2 |  |  |  |  | 0.116
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | NR | 로봇 | 1 | 1 | ReWalk | KAFO-gait |  |  | 30MWT(cadence) | step/minute |  | 4주 | 10 | 21.4 | 2.4 | 10 | 22.6 | 7.6 |  |  |  |  | 0.564
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 10MWT speed | m/sec |  | baseline | 11 | 0.24 | 0.11 | 10 | 0.28 | 0.27
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 10MWT speed | m/sec |  | post(8주) | 19 | 0.46 | 0.25 | 19 | 0.45 | 0.41
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 6MWT | m |  | baseline | 11 | 82.7 | 45.5 | 9 | 94.3 | 75.1
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | 6MWT | m |  | post(8주) | 18 | 157.54 | 89.51 | 17 | 145.62 | 125.15
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | WISCI II |  |  | baseline | 20 | 6 | 3.2 | 21 | 5 | 3.7
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | WISCI II |  |  | post(8주) | 20 | 12.45 | 4.17 | 21 | 10.8 | 4.54
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | LEMS |  |  | baseline | 20 | 21 | 10.3 | 21 | 20 | 9.9
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | LEMS |  |  | post(8주) | 20 | 27.15 | 11.1 | 21 | 22.57 | 10.8
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | FIM-Locomotor |  |  | baseline | 20 | 6 | 2.9 | 21 | 5 | 2.8
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | 0 | LKOGT(robotic locomotor training+overground training) | 2 | 1 | Locomotor | OGT(conventional overground training) |  |  | FIM-Locomotor |  |  | post(8주) | 20 | 8.9 | 2.61 | 21 | 8.67 | 2.65

## 4_비뚤림 위험평가
L: 낮음, H: 높음, U: 불확실, N: 해당없음
no. | 1저자 (연도) | 연구설계 | 질환 | 1. 무작위 배정순서 생성(Random sequence generation) | 1. 판단근거 | 2. 배정순서 은폐(Allocation concealment) | 2. 판단근거 | 3. 연구참여자, 연구자에 대한 눈가림(Blinding o$$F participants and personnel) | 3. 판단근거 | 4. 결과평가에 대한 눈가림(Blinding o$$F outcome assessment) | 4. 판단근거 | 5. 불충분한 결과자료(Incomplete outcome data) | 5. 판단근거 | 6. 선택적 보고(Selective reporting) | 6. 판단근거 | 7. 민간연구지원 비뚤림 | 8. 판단근거
비고
4248 | Nooijen (2009) | RCT | 불완전 척수손상 | U | Subjects within each stratum were then randomly assigned to one of four training groups. 무작위배정 방법 NR | U | 배정순서 은폐에 대한 보고없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | H | 동일 대상자에서 탈락률에 대한 보고값이 다름 | L | 방법에 제시한 결과 보고함 | L | Funding support for this study was provided by National Institutes of Health grant R01HD41487 (to Dr Field-Fote) and The Miami Project to Cure Paralysis. | 4248, 4702 동일 연구, 비뚤림 위험평가 한번에 수행함
4702 | Field-Fote (2011) | [16 empty] | 4248, 4702 동일 연구, 비뚤림 위험평가 한번에 함
국내_344 | 송명수 (2012) | RCT | 불완전 척수손상 | L | 본 연구에서는 카드를 주머니에 넣어 대상자가 뽑는 방법으로 실험군과 대조군을 무작 위로 배정 | U | 배정순서 은폐에 대한 보고없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 탈락자 없고, 모든 결과 제시함 | L | 방법에 제시한 결과 보고함 | L | 원광보건대학교 학술연구비 지원에 의해 수행되었음
148 | Yildirim (2019) | RCT | 완전/불완전 척수손상 | L | Only one investigator was involved in the randomization process, which was performed through coin flipping. | U | In total, 88 patients were included and were randomly divided into two groups. 배정순서 은폐에 대한 보고없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | All patients were evaluated by a blind researcher (Kadriye Öneş) at the beginning and end of treatment (single-blind study). | L | 탈락자 없고, 모든 결과 제시함 | L | 방법에 제시한 결과 보고함 | u | 언급없음
212 | Chang (2018) | RCT | 불완전 척수손상 | L | The subjects were randomized by the members of the research team into two groups (EGT and CPT) by drawing lots, maintaining allocation concealment. | H | However, it was impossible to blind the subjects to their allocation as EGT and CPT are completely different interventions requiring extensive subject involvement in training. | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | Pre- and post-assessment sessions were conducted at the pre- and immediate post-training for both groups by a physical therapist who was masked of the group assignment. | H | 탈락자있음(np show1, did not receive allocated inteervention1) | L | 방법에 제시한 결과 보고함 | L | The study was partly funded by the TIRR Innovation Grant, Memorial Hermann Foundation, and Mission Connect, a project by TIRR Foundation.(TIRR병원의 공공재단)
216 | Wu (2018) | RCT | 불완전 척수손상 | L | The randomization was conducted by research physical therapists through concealed envelopes, which was chosen by each subject for the determination of his/her group assignment. | L | The randomization was conducted by research physical therapists through concealed envelopes, which was chosen by each subject for the determination of his/her group assignment. | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | H | 두명 탈락 | L | 방법에 제시한 결과 보고함 | U | 언급없음
308 | Alcobendas-Maestro (2012) | RCT | 불완전 척수손상 | L | they were randomized to the Lokomat and conventional overground groups using a proper allocation concealment process by a centralized computer program. | L | they were randomized to the Lokomat and conventional overground groups using a proper allocation concealment process by a centralized computer program. | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | The assessors were blinded for treatment allocation and familiar with the test battery. | H | 탈락있고, 보고하고있는 지표 n수 다름 | H | 보고하고 있는 n수가 모두 다름 | L | This research was supported by a grant from FISCAM (Fondo para la Investigación Sanitaria en Castilla la Mancha) - AN/2006/27.
405 | Piira (2019) | RCT | 불완전 척수손상 | L | Subjects were randomized to either intervention (I) or control group (C) using concealment by sealed envelopes. | L | Subjects were randomized to either intervention (I) or control group (C) using concealment by sealed envelopes. | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | Assessments were conducted single blindly at Sunnaas Rehabilitation Hospital. | L | 탈락없음 | H | 대조군에서 3명 보고되지 않은 값 있음 | L | The study was funded by the Norwegian Health Authorities and the Norwegian Health and Rehabilitation funds. Gjensidige insurance company donated the LOKOMAT® gait training robot.
3244 | Shin (2014) | RCT | 불완전 척수손상 | U | A total of 60 participants were enrolled and randomly assigned to the RAGT group or conventional group. -상세한 random방법 없음 | U | 배정순서 은폐에 대한 보고없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | H | 탈락있음(7명) | L | 결과모두 보고함 | U | 언급없음
3505 | Midik (2020) | RCT | 불완전 척수손상 | L | All patients were randomized into two groups using block randomization. | U | 배정순서 은폐에 대한 보고없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 탈락없음 | L | 결과모두 보고함 | L | The authors received no financial support for the research and/or authorship of this article.
10 | Esclarin-Ruz (2014) | RCT | 하지 운동장애 | L | Patients were randomized to the LKOGT and OGT groups using an appropriate, centrally computerized allocation-concealment process. | L | We conducted a randomized open controlled trial with blind evaluation by an independent observer. The assessors were blinded for treatment allocation and were familiar with the test battery. | L | We conducted a randomized open controlled trial with blind evaluation by an independent observer. The assessors were blinded for treatment allocation and were familiar with the test battery. | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 중재군탈락2, 대조군 탈락1 | L | 방법에 제시한 결과 보고함 | U | 언급없음
3706 | Kwon(2020) | RCT (Cross-over) | 척수손상 | L | A random cross-over design was used, and the order of training was assigned randomly. | H | 언급없음 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 주요결과가 보행거리, 속도 등 객관적인 눈가림 여부에 영향을 받지 않는 경우 | L | 탈락있으나 이유있음(Of the 13 recruited participants, 1 participant who completed both the KAFO- and ReWalk-gait training was excluded owing to evaluation device failure, and 1 participant dropped out of the study owing to worsening of the condition. One participant only completed the KAFOgait training and evaluation due to early discharge.) | L | 므든결과보고함 | L | This study was supported by a grant of the Translational Research Center for Rehabilitation Robots, Korea National Rehabilitation Center, Ministry of Health & Welfare, Korea (No. NRCTR-IN17003).

## 진단정확도 예시 (hidden)
개념 |  |  |  | 계산 예시
| Dz (+) | Dz (-) | Total |  | 표준검사 (+) | 표준검사 (-) | Total
Test (+) | ① TP | ② FP | ③ | 대상검사 (+) | 32 | 25 | 57
Test (-) | ④ FN | ⑤ TN | ⑥ | 대상검사 (-) | 0 | 1402 | 1402
Total | ⑦ | ⑧ | ⑨ | Total | 32 | 1427 | 1459
Sn | =①/⑦ |  |  | Sn | 1
Sp | =⑤/⑧ |  |  | Sp | 0.98248
PPV | =①/③ |  |  | PPV | 0.5614
NPV | =⑤/⑥ |  |  | NPV | 1
양성우도비 | =Sn/(1-Sp) |  |  | 양성우도비 | 57.08
음성우도비 | =(1-Sn)/Sp |  |  | 음성우도비 | 0